



Bid Package #4 - Steel
Provide all labor, material, equipment and supervision to complete the Steel scope of work in accordance with the construction documents and in compliance with all federal, state and local codes, including but not limited to the following:
1. All work to meet plans, specifications, local codes and all governing agencies.
2. If there are any discrepancies between this scope of work and the contract documents, the more stringent shall apply.

3. Bidders are to include any labor and material escalations through the duration of the project.

4. Bidders are to include full-time supervision for their scope of work.
5. Furnish and install all steel per the contract documents including but not limited to, anchor bolts setting plates, steel columns, steel trusses, per the bid documents. 
6. Furnish and install all miscellaneous hardware for a complete installation per the bid documents.
Bidders are to Include the Below Items in their Proposals.
7. Bidders are to include the cost of providing a performance and payment bond in their proposal.
8. Bidders are to include a bid bond with the bid package.
General and Miscellaneous Scope of Work Items

9. Provide submittals within two weeks of contract award.
10. The bidder will provide all site survey and layout as needed to complete the scope of work. Construction Manager will provide control points to be used by the bidder.

11. The bidder is responsible for dust control to the satisfaction of the construction managers superintendent while performing the contract work.

12. The bidder will provide temporary power to complete their scope of work.

13. The bidder is responsible for all hoisting, rigging, planking and scaffolding required to perform their scope of work.

14. Monitor and maintain all erosion control standards and described by the SWPPP.

15. The bidder will not cause disruption or loss of business to businesses immediately adjacent to or in the surrounding area of the site.

16. The bidder will perform traffic control, dewatering, install and maintain temporary barricades.

17. The bidder will submit change order requests for adds and deducts within 14 calendar days of notification. After the 14 calendar days has elapsed after notification of change the subcontractor will complete the additional work at no additional charge. After the 14 calendar days has elapsed after notification of change deducts for the elimination of scope work will be per the construction managers take off and unit price estimate and the costs will be deducted from the contract amount.

18. A trained competent excavation individual personnel must be onsite at all times that any excavation work is being performed.

19. Phasing Constraints and Requirements are included.

20. Prior to digging, underground installations shall be identified by a locating service including private utilities.
21. Proper sloping, shoring or shielding systems must be provided for all trenching and excavation exposures. This shall include providing and installing trench boxes or other means determined as safe and in compliance with the work being performed.

22. This contractor shall be responsible for insuring that his machinery, subcontracted machinery, and machinery being used for deliveries and pick-ups be in a condition when it leaves the jobsite to not have material being tracked on the public roads. Any clean-up labor and/or costs, including street sweeping, to ensure that the roads are kept in a clean and presentable condition to the general public will be this subcontractor’s responsibility for his scope of work.

23. Adequate bracing and/or shoring protection of your work and work areas will be your direct responsibility.

24. Clean up of all work areas on a daily basis as to where all debris and misc. loose material is either disposed of or kept in an organized manner. 

25. All delivery charges to the site have been included.

26. Bidders are to visit the site and will be aware of the logistics and access available for the completion of bidder’s work.

PAGE  
2

